Duo-Gard Industries Inc.

40442 Koppernick Road

Canton, Michigan  48187

Phone    (734) 207-9700

Fax    (734) 207-7995

www.duo-gard.com

SECTION 08 45 13

### Structured Polycarbonate Panel Assemblies

# Series 3000 – Vertical BPC System

PART 1	GENERAL

1.1	SECTION INCLUDES

A.     Translucent daylighting system.

  - RELATED SECTIONS

A.	Section 08 84 00 - Plastic Glazing.

1.3	REFERENCES

A.	ASTM D 635 - Rate of Burning and/or Extent and Time of Burning of Self-Supporting Plastics in a Horizontal Position.

- ASTM D 1929 – Ignition Temperature of Plastics.

- ASTM D 2843 – Density of Smoke.

- ASTM E 84 - Surface Burning Characteristics of Building Materials.

- ASTM E 331 – Water Penetration.

- ASTM E 283 – Air Infiltration.

1.4	DESIGN REQUIREMENTS

A.	Basic Wind Speed: Designed to parameters as indicated on construction/bid documents.

(If alternate loading is required please contact Duo-Gard)

- Basic Snow Load: Designed to parameters as indicated on construction/bid

documents.

(If alternate loading is required please contact Duo-Gard)

- Exposure Category: Designed to parameters as indicated on construction/bid documents.

D.	Maximum Allowable Deflection of Structural Members:  Maximum of L/120 of clear

span.

1.5	SUBMITTALS

A.	Comply with Section 01 33 00 - Submittal Procedures.

B.	Product Data:  Submit manufacturer's product data, including materials, components, fabrication, finish, and installation instructions.

C.	Shop Drawings:  Submit manufacturer's shop drawings, including plans, elevations, sections, and details, indicating dimensions, tolerances, profiles, anchorage, connections, fasteners, hardware, provisions for expansion and contraction, drainage, aluminum flashing, finish, and attachments to supports of glazing, framing, and options.

D.	Samples:  Submit manufacturer’s samples for each glazing type, framing system, finish, and color specified.

E.	Manufacturer’s Certification:  Submit manufacturer’s certification that materials comply with specified requirements and are suitable for intended application.

F.	Manufacturer’s Project References:  Submit list of completed projects including project name and location, name of architect, and type of daylighting manufactured.

- Warranty:  Submit manufacturer's standard warranty.

- Testing Reports:  Submit manufacturer’s test reports.

  - Fire tests.

  - Air infiltration test.

  - Water penetration test.

1.6	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:

1.	Continuously engaged in translucent insulated daylighting manufacturing with a minimum of 10 years successful experience.

2.	Able to demonstrate successful performance on comparable projects.

3.	Responsible for all components, including structural design.

B.	Installer’s Qualifications:

1.	Authorized by manufacturer to install translucent glazing products.

2.	Trained by manufacturer’s standard training methods and policies.

- Approved Manufacturers:

All manufacturers acceptable for use on this project must be approved prior to bid.  Manufacturers must submit evidence of compliance with all performance criteria specified including test reports.  Any exceptions taken from this specification must be noted on the approval request.  If approval is given, product performance will be as specified.  Should non-compliance be subsequently discovered, the previously given approval will be invalidated and use of the product on the project will be disallowed.  Requests for approval, with all appropriate submittal data and samples must be received no less than 15 days prior to bid date.  A list of all approved manufacturers and products will be issued by addendum. No other manufacturers will be acceptable.  No verbal approval will be given.

1.7     DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name, manufacturer, and location of installation.

B.	Storage:

1.	Store materials in a clean, dry area indoors in accordance with manufacturer's instructions.

2.	Keep temporary protective liners in place.

3.	Do not expose panels to direct sunlight for extended periods.

  - WARRANTY

A.	Warranty Period:  Ten years on weatherization starting on date of substantial completion.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Duo-Gard Industries Inc., 40442 Koppernick Road, Canton, Michigan 48187.

Phone (734) 207-9700.  Fax (734) 207-7995.  Web Site:   www.duo-gard.com.

2.2	GLAZING

A.	Product:  Series 3000 Base plate, pressure plate and cap system glazed with

polycarbonate structured sheet. Glass fiber reinforced thermoset resin (fiberglass)

faces are not acceptable.

B.	Panel Thickness:  16 mm.

(25mm with various wall configurations available, please contact Duo-Gard)

C.	Profile:  triple wall or X-wall depending on structural requirement.

D.	Color: manufacturer’s standard – clear, bronze, opal.

(other colors available, please contact Duo-Gard)

E.	U-Value, ASTM C 236:  0.40 (triple-wall)

0.37 (X-wall)

F.	Light Transmission, ASTM D 1003:

triple wall configuration - 74 percent (clear)

37 percent (bronze)

52 percent (opal)

X-wall configuration - 65 percent (clear)

30 percent (bronze)

40 percent (opal)

G.	Fire Tests:

1.	Flame Spread, ASTM E 84: Class A.

2.	Smoke Density, ASTM E 84: Class A.

- Smoke Developed, ASTM D 635:  CC1.

- Ignition Temperature, ASTM D1929.

- Density of smoke, ASTM D 2843.

2.3	STRUCTURAL FRAMING SYSTEM

A.	Framing System:  Series 3000 BPC System.

1.	Alloy:  6005-T5.

B.	Combined Maximum Deflection:  1 inch.

C.	Provide additional aluminum structure where and if required.

D.	Air infiltration, ASTM E 283-1999:  Leakage not to exceed 0.04 when tested at 1.57 psf

and not to exceed 0.07 when tested at 6.24 psf.

E.	Water penetration, ASTM E 331-2000:  No water leakage at 30 psf.

F.	Direct contact between polycarbonate system components is not acceptable including but not limited to polycarbonate battens.

G.	Framing system must allow polycarbonate panel to ‘float’ in the channel to accommodate for expansion and contraction.

2.4	MATERIALS

A.	Glazing Panel:

1.	Panel:  Polycarbonate structured sheet.

2.	UV Stabilization:  Coextruded into panel, not coated.

3.	Resist Yellowing:  Maximum 10 delta for a minimum of 10 years.

4.	Appearance:  Uniform in color.

5.	Expansion and Contraction:  Design and install components with provisions based on temperature variations for specified geographic location.

- Gaskets and Dry Seals:  EPDM.

- Produced:  USA certificate of origin required.  Panels produced outside of USA will not be allowed.

B.	Joint Sealant:

1.	Factory-Applied Sealant:  Gunnable, nonhardening, elastomeric sealant.

ASTM C 920, Type S, Class 12, Grade NS.  Fed Spec TT-S-1657, Type 1.n.

2.	Field-Applied Sealant:  Approved by translucent insulated daylighting manufacturer.  As specified elsewhere in specifications.

C.	Field Fasteners:

1.	Comply with translucent insulated daylighting manufacturer’s instructions for fastener types, quantities, and usage.

- Cadmium-plated or better.  Prevent oxidation or electrolytic interaction with framing.

3.	Aluminum-to-Aluminum Connections:  Self-drilling screws, size and length as determined by manufacturer.

2.5     COLOR AND FINISH

A.	Panel Color:

1.	Manufacturer's standard – clear, bronze, opal.

(other colors available, please contact Duo-Gard)

B.	Aluminum Finish:

1.	Manufacturer's standard - clear anodized.

(other finishes available, please contact Duo-Gard)

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive translucent insulated daylighting.  Notify Architect of conditions that would adversely affect installation or subsequent utilization of daylighting.  Do not proceed with installation until unsatisfactory conditions are corrected.

3.2	PREPARATION

A.	Ensure supports to receive translucent insulated daylighting are clean, flat, level, plumb, square, accurately aligned, and correctly located.

3.3	INSTALLATION

A.	Install translucent insulated daylighting in accordance with manufacturer's instructions at locations indicated on the drawings.

B.	Install daylighting level, plumb, square, accurately aligned, correctly located, and without warp.

C.	Anchor daylighting securely in place to supports.  Use attachment methods permitting adjustment for construction tolerances, irregularities, alignment, and expansion and contraction.

D.	Install daylighting including aluminum flashing, fasteners, hardware, gaskets, joint sealants, and glazing materials required for a complete, weathertight installation.

E.	Sheet Metal Flashing:  Install sheet metal flashing as specified elsewhere in specifications.

F.	Joint Sealants:  Install joint sealants as specified elsewhere in specifications.

G.	Repair minor damages to metal finish or glazing in accordance with manufacturer's instructions and as approved by Architect.  Remove and replace damaged components that cannot be successfully repaired as determined by Architect.

3.4 	CLEANING

A.	Clean translucent insulated daylighting in accordance with manufacturer's instructions.

B.	Clean inside and outside of daylighting immediately after installation and after joint sealants have cured.

C.	Remove temporary protective liners at time of installation (interior) and after installation is complete (exterior).

D.	Remove excess joint sealant in accordance with sealant manufacturer's instructions.

E.	Do not use harsh cleaning materials or methods that would damage metal finish or glazing.

3.5	PROTECTION

A.	Protect installed translucent insulated daylighting from damage during construction.

B.	Remove and replace damaged daylighting components as determined by Architect.

END OF SECTION